**INVITATION FOR TENDER FOR SUPPLY OF EQUIPMENT**

Sealed tender offers are invited in two separate sealed covers (Technical and Commercial offers) from eligible Indian manufacturers/suppliers or foreign manufacturers through their direct Indian agents for the supply of the equipment.

Interested vendors, who have adequate credential for supply of this item, are requested to send their sealed bids under a **Two-Bid System** of the **Equipment** with their **Detailed TechnicalSpecifications** given at **Annexure-I** and General Terms & Conditions given at **Annexure-II**. Inaddition, the vendor must submit a signed “declaration” form as given in **Appendix-III**.

The Tender must be sent in a sealed packet, containing two separate sealed envelopes for each of the items mentioned in **Annexure-I** (one for Technical Bid and the other for Commercial Bid). Each envelop should be duly superscripted with(i) the Tender Notice No. given in the table below (ii) content of the envelope(i.e. Technical Bid/Commercial Bid) and (iii) the ‘description of the stores’ as given in Annexure-I to:

**Dean**

**IRDM Faculty Centre**

**Ramakrishna Mission Vivekananda Educational & Research Institute (RKMVERI)**

**Ramakrishna Mission Ashrama, Narendrapur**

**Kolkata – 700 103**

Tenders should reach the addressee not later than the **“Last date and Time”** mentioned in the Table below.

|  |  |
| --- | --- |
| Tender Notice No. | **RKMVERI/NDP/Tender/DST Climate Change**  **2018-19 Dt. 16.04. 2018** |
|  |  |
| Last date and Time of receipt of Tender | **30.04.2018** |
| Time and date of Opening of bids | **07.05.2018, 3:00 PM** |
| Place of Opening of Tender | IRDM Faculty Centre  Ramakrishna Mission Vivekananda Educational & Research Institute  Ramakrishna Mission Ashrama, Narendrapur  Kolkata – 700 103 |
| Address of communication | As stated above |
| Contact Telephone No. | 033-2477 2020 |
|  |  |

The Technical bids will be opened in the presence of the vendors/their authorized representatives and will be evaluated first. Price bids will be opened (to be notified separately), only of those firms, who will be found technically qualified/short listed, after evaluation of their technical bids. The Institute reserves the right to accept or reject the bids/tender or take any decision as deemed fit.

**Dean**

**IRDM Faculty Centre**

**Annexure -I**

**A) Techno Commercial Bid:**

|  |  |  |  |
| --- | --- | --- | --- |
| **Sl. No.** | **Category Name** | **Sub-Category Name** | **Sub-category Description** |
| A | CERTIFICATE | A1. CERTIFICATE | Copies of Trade License, PAN Card, Professional Tax Registration, GST Registration (if not applicable, reasons with supporting documents are to be submitted positively) |
| B | SUPPLIER DETAILS | B1. COMPANY DETAILS1 | Document of details address including contact number & email ID, valid Authorization of Distributorship/ dealership from manufacturer (as the case may be) |
| C | CREDENTIAL | C1. CREDENTIAL1 | Self Declaration- “Not Black listed by any Govt. (State & Central) organizations or not debarring from participation into Govt. tender” |
| C2. CREDENTIAL2 | Copies of past working experience for undertaking similar type of works for last consecutive three years. |
| D | FINANCIAL INFO | D1. P/L & BALANCE SHEET | Copies of P/L & Balance Sheet (Duly audited/ certified by Chartered Accountants) of last consecutive three years. |
| E | RETURNE | E1. COPY OF RETURNS | Copies of acknowledgement of Income Tax Return for last consecutive three years |
| E2. COPY OF RETURNS | Copies of acknowledgement of GST Return |

Note:

i) All copy/ copies (as the case may be) to be self attested by the authorized person/ competent authority/ Proprietor of the Bidding organization.

ii) If after opening of the financial bid, it comes to our knowledge that the supplier has been black listed/ debarred from participation in to Govt. Tender by any Govt. (State & Central) organizations, the bid will be rejected forthwith.

**Failure submission of any one of the above mentioned documents tender will be summarily rejected**.

**B) Financial Proposal/ Financial Bid:**

**Technical Specifications of Infrared thermographic camera, Heat stress monitor and Desktop computers:**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Sl.**  **No** | **Description** | **Specification** | **Qty.** | **Rate#**  **(in Rupees)** | **Amount**  **(in Rupees)** |
| **1.** | **Infrared thermographic camera** | IR resolution should be 320 × 240 pixels or Better  Camera to capture 640 x 480 IR Pixel images in Ultra-Max Mode. It should be presentable in CSV file as 307200 pixel  Blending of Infrared & Visual Image in MSX Mode: 320 × 240 pixels to have IR image with enhanced detail  Thermal sensitivity/NETD - <30 mK @ +30°C (+86°F) or Better (Below 30 mk)  FOV with 25° Lens - 25° × 19° or Better with Tiltable Lens with (IFOV) - 1.39 mrad or Better  Minimum focus distance - 0.4 m (1.31 ft.)  Image frequency – 60 Hz or Better  Field of view (FOV with 6° Lens) - 6° × 4.5° with Spatial resolution (IFOV) - 0.33 mrad  Spectral range – 8 µm –13 µm  Display – Touch screen, 3.5 in. LCD, 320 × 240 pixels or Better  Image modes - IR, visual, Visual &IR Blend, picture in picture, thumbnail gallery  Object temperature range –20°C to +1200°C in Steps or Higher. Accuracy ±2°C (±3.6°F) or ±2% of reading  Emissivity correction - Variable from 0.01 to 1.0 or selected from materials list  Image storage- Standard JPEG, including digital photo and measurement data, on memory card  Image storage mode - Simultaneous storage of thermal and digital photo in same JPEG file & separate JPEG file or other Format  Camera with Voice Annotation& Text Annotation  Instant Report (\*.pdf file) in camera including IR and visual images & Separate PC software with extensive report generation  Radiometric (.seq) IR video streaming - Full dynamic to PC using USB or LAN  Software Compatibility of camera for analysing with Atlas SDK for .NET & Atlas SDK for MATLAB  Streaming online Radiometric Thermal Video Image in PC (,seq Format) for Analysing online & off line  Software with MS Word Compatibility  Built-in digital camera- 3.1 Mega pixels (2048 × 1536 pixels) or Better with LED light/Flash  Interfaces - USB-mini, USB-A, Bluetooth, Wi-Fi, composite video colorized video or More  Weight of Camera incl. battery Should Be Less Than 1 Kgs & Tripod Compatibility  Battery type - Rechargeable Li ion battery with 2 Years Warrantee  Warranty (Camera) – 2 Years or more  Warranty (Detector) – 10 Years  **Vendor qualification:**   1. Authorized dealer and Supplier with proven track record. 2. Vendors provide documentation of satisfactory aftersales service and supports | **Two (2)** |  |  |
|  | **Heat stress monitor** | Multifunction datalogger  (mc1)hot environments software  (mc2)cold environments software  Pt100 sensor temperature probe  Omnidirectional hotwire probe  Omnidirectional hotwire probe for temperature -30°c  Natural wet bulb probe  Temperature and humidity probe (new version)  USB 2.0 connecting cable  Carrying case  Power source  Tripod with 6 input head  **Vendor qualification:**   1. Authorized dealer and Supplier with proven track record. 2. Vendors provide documentation of satisfactory aftersales service and supports | One (1) |  |  |
|  | **HP Commercial Desktop** | Processor - CORE i5  RAM - 16 GB with high definition Graphics Card  HDD - 1TB (internal)  DVDRW  Key board&Mouse  Monitor - 27'' LED  OS - WINDOWS 10 PROFESSIONAL (64 BIT)  HDD – 2 TB (external)  Microsoft Office professional (Latest)  **Vendor qualification:**   1. Authorized dealer and Supplier with proven track record. 2. Vendors provide documentation of satisfactory aftersales service and supports | Two (2) |  |  |

**Note:# Rate must be included with all types of tax and charges.**

**Annexure -II**

**GENERAL TERMS AND CONDITIONS**

1. **Bid**: The tender be sent in a **sealed packet, containing two separate sealed envelopes(one each for Technical Bid and Commercial Bid)** the items mentioned in **Annexure-I**. Each Technical Bidand Commercial Bid should be duly superscripted with **(i) the Tender Notice No.** given in the tender notice (ii) content of the envelope **(i.e. Technical Bid / Commercial Bid)** and (iii) the **‘description’** as given in Annexure-I. Technical Bid should have a copy of the **price bid with prices masked**. All these envelops must be placed inside **a single sealed envelope** quotingreference number on the top of the envelope and sent to the address mentioned in the tender notice so as to reach the addressee by **the last date and time** mentioned. Quotations received after the last date and time will not be entertained.

2. The Original Equipment Manufacturer (OEM) may either bid directly or authorize their Country/Regional/State Distributors /Dealers/Vendors, to quote with **bid authorization certificate**, (to be included with **the technical bid**).

1. The bidder should provide along with each technical bid:
   1. Technical brochure / application notes
   2. Point by Point Compliance Statement.
   3. One year on site comprehensive warranty from the date of successful installation and commissioning.
      1. Name and Status of the Tenderer (attach document if registered company/proprietorship/partner).
2. Details of key top official/authorized official (attach details)
3. Names and address of the vendor’s three largest clients, to whom similar productsservices were extended.

(vii) Whether OEM/representing foreign principal (attach copy of certificate/authorization)

(viii)Name and Address of the Indian Agent who will be responsible for maintaining theequipment during the entire period under warranty.

* + 1. A copy of agency agreement entered into with the principal indicating the nature of after sales services of Indian Agent, precise relationship and mutual interest in the business.

1. **Deviation** from specification: If the tenderer makes any deviation from the specification givenin Annexure-I the same must be prominently brought out in the body of the tender. If any additional item is needed to meet the specification the tenderer should quote for the total including the additional item required to meet the given specification.
2. Each Commercial Bid should have all the commercial documents, agreements and Price Bid.
3. Bidders are to enclose the following documents:
   1. Current Income Tax and Sales Tax clearance Certificates and PAN No. (attach copy).
   2. Banker’s Solvency Certificate.
   3. Summary of Audited statement of Accounts for the last three years to be enclosed.
4. **Price**: (i) Domestic tenders are to quote and accept their payment in Indian currency.
   * + 1. Indian agents of foreign suppliers are to receive their agency commission in Indian currency.
   1. Cost of imported goods, which are directly imported against the contract, may be quoted in foreign currency (currencies) and will be paid accordingly in that currency and the portion of the allied work and services, which are to be undertaken in India (like installation & commissioning of equipment) are to be quoted and will be paid in Indian currency.
5. For imported items both F.O.B. & C.I. F. Kolkata price by air are to be quoted.
6. The price of imported items shall be quoted with cost break-up indicating the applicable prices for each component (landing and clearing charges and commission to Indian agents).

(vi)The purchaser will not pay separately for Transit Insurance.

* 1. Price should be quoted for supply, installation and commissioning at IRDM Faculty Centre, RKMVERI.
  2. Discount, if any, should be indicated separately/prominently.
  3. Offers should normally be on fixed and firm price basis. Any clause making price variation will not be acceptable.
  4. **Period of Validity**: Bids shall remain valid for acceptance for a period of **60 days** fromthe date of opening of the price bid.

1. **Late Tenders**: Tenders received after the due date and time will not be accepted.
2. Bid once submitted shall be the property of RKMVERI, Narendrapur and shall not be returned to the vendor at any time.
3. A bid submitted with false information will not only be rejected but the vendor may also be debarred from participation in future tender process.
4. Canvassing in any form will not only lead to rejection of the bid but the vendor may also be debarred from participation in future tender process.
5. **Opening of quotation**: Every quotation will be opened in the IRDM Faculty Centre, RKMVERI, Narendrapur at the time and on the date indicated on the tender form. A firm may send its accredited representative(s) to witness the opening if it so desires. The person(s) attending the bid opening session should be delegated with appropriate Power of Attorney (duly endorsed by a Notary Public) by the Chief Executive Officer of the Company to sign such document. At most two persons on behalf of each company will be allowed to participate/attend the bid opening session.
6. The Institute does not bind itself to offer any explanation to those bidders whose technical bids have not been found acceptable.
7. **Opening of Price Bids**: The Price Bid(s) of only those vendor(s) who are foundtechnically qualified will be opened and the same will be opened before the technically qualified vendor(s). The date for opening of price bids will be **notified separately.**
8. The authority of RKMVERI, Narendrapur does not bind itself to accept the lowest priced bid and reserves the right to reject any or the entire tender bids received without assigning any reason thereof.
9. The order acknowledgement should be issued within three days after receipt of the official purchase order.
10. **Delivery of Stores**: The store items should be supplied within 90 days from the date of receipt ofthe Purchase Order. Imported items should be air lifted within 30 days from the date of receipt of the Letter of Credit copy.
11. **Measurement/Weight**: Net/Gross of the Consignment is to be specified. Use Air Worthypackage (as applicable) duly certified with documents.
12. a) **Consignee**: All stores are required to be consigned to the

**IRDM Faculty Centre**

**Ramakrishna Mission Vivekananda Educational & Research Institute (RKMVERI)**

**Ramakrishna Mission Ashrama, Narendrapur**

**Kolkata – 700 103**

* 1. **Disposal of Despatch Documents**: The railway receipt/PWB/Consignment Note alongwith the quadruplicate copy of the relevant bill and two copies of the priced challan should be dispatched to the Dean, IRDM Faculty Centre, RKMVERI, Narendrapur immediately on completion of dispatch. If these documents do not reach the Head of the Department in time all wharfage/demurrage incurred, if any, will be recoverable from the suppliers.

1. **Liquidated Damage**: In the event of failure to deliver the stores beyond the specifieddate, liquidated damages @ 1% per month or part thereof in respect of the value of stores will be deducted, subject to a maximum of 5%; alternately the order will be cancelled and the undelivered stores purchased from elsewhere at the risk and expense of the vendor.
2. **Patent Rights**: The supplier shall indemnify the purchase against all third party claims ofinfringement of Patent, Trademark or Industrial Design Rights arising from use of the goods or any part thereof in India.
3. **Validity of licenses**: Software’s licensing price or policy (if any) shall be clearlymentioned. All licenses should be perpetual. All the accessories shall be from the same OEM
4. **Quality & Specification of Stores**: The stores offered should be of the best qualityavailable, unless otherwise specified confirming strictly to the specification cited. The institute reserves the right to reject such stores as are found unacceptable on these grounds.
5. **Installation and Commissioning**: Free of cost at IRDM Faculty Centre, RKMVERI, Narendrapur. Installation must becompleted within 15 days from the date of receipt by this institute. The presence of Service engineer from the Principal at the time of installation is essential.
6. **Payment**: (i) Payment for indigenous items and also imported items quoted in IndianRupees shall be made only after completion of supply, Installation and commissioning of the system to the entire satisfaction of the purchaser. **No advance/mobilization support, ispayable against supply of stores.**

(ii) Where items are imported and the payment is desired to be made to their foreign principals directly, the same will be made against **Irrevocable Letter of Credit only.**

(iii) The benefit of any downward price revision (revision on account of budget/financial policy, tax revision, EPZ etc.) is to be given to RKMVERI, Narendrapur by the selected OEM/vendor.

1. Tenderers shall submit along with each of their Commercial Bids
   * 1. Complete postal address, email address and telephone links for contact persons in principals and Indian agent offices dealing with this purchase.
     2. Full name and address of the beneficiary on whom order has to be made.
     3. Name and Full address of the Banker of the beneficiary along with bank details

(**Account name and no. Type, IFSC Code, Swift Code etc.)**

1. The person/officer signing the tender/bid documents should be delegated with an appropriate Power of Attorney (duly endorsed by a Notary Public) by the Chief Executive Office/Managing Director of the Company to sign such documents.
2. **One Agent can not represent two suppliers or quote on their behalf for the same item at the same time**.

**IMPORTANT**

1. Vice Chancellor may accept or reject any or all the bids in part or in full without assigning any reason and does not bind himself to accept the lowest bid. The Institute at its discretion may change the quantity/upgrade the criteria/drop any item or part thereof at any time before placing the Purchase Order.
2. The OEMs/Vendors need to submit a certificate during opening of technical bids that they are not currently debarred or blacklisted in RKMVERI, Narendrapur for any supplies, products or services, or at present in any national organization or educational institute/university.
3. In case of any dispute, the decision of the Vice Chancellor of this University shall be final and binding on the bidders.
4. For any query pertaining to this bid document, correspondence be addressed to:

**IRDM Faculty Centre**

**Ramakrishna Mission Vivekananda Educational & Research Institute**

**Ramakrishna Mission Ashrama, Narendrapur**

**Kolkata – 700 103**

**E-mail:** [**rkmvu.ndp@gmail.com**](mailto:rkmvu.ndp@gmail.com)

**Phone: 033-2477 2020**

1. In case the due date for opening tender happens to be a holiday, the same will be opened on the next working day. The timings will however remain unchanged.

**Dean**

**IRDM Faculty Centre**

**Ramakrishna Mission Vivekananda Educational & Research Institute**

**Annexure III**

**DECLARATION**

1. I, -------------------------------------------------Son /Daughter of Shri -------------------------

-------------------------------------------------Proprietor/Partner/CEO/MD/Director/

Authorized Signatory of M/s. ------------------------------------------------------ am

competent to sign this declaration and execute this tender document.

1. I have carefully read and understood all the terms and conditions of the tender and hereby convey my acceptance of the same.
2. The information/ documents furnished along with the above application are true and authentic to the best of my knowledge and belief.
3. I/ we/ am are well aware of the fact that furnishing of any false information/ fabricated document would lead to rejection of my tender at any stage besides liabilities towards prosecution under appropriate law.
4. Each page of the tender document and papers submitted by myCompany is authenticated, sealed and signed, and I take full responsibility for the entire documents submitted.

----------------------------------------------

Signature of the Authorized Person

Date: ----------------------------- Full Name: ----------------------------

Place: ---------------------------- Company Seal: ------------------